## CardioKit_R01_BOM_AssemblyVaria
Comment | Description | Designator | Manufacturer Part Number | Quantity
0.1uF | CL05 Series 0.1 uF 16 V ±10% Tolerance X7R SMT Multilayer Ceramic Capacitor | C1, C4, C8, C10, C11, C12, C13, C19, C21, C23, C25, C27, C29, C31, C33, C43, C50, C52, C54, C55, C57, C58, C60, C63, C64, C65, C66, C75, C83, C84, C85, C86 | CL05B104KO5NNNC | 32
110pF 5% C0G | CAP CER 110PF 50V 5% NP0 0402 | C7, Cg2 | C0402C111J5GAC7867 | 2
2nF 5% C0G | CAP CER 2000PF 50V 5% NP0 0603 | C14, C46 | GRM1885C1H202JA01D | 2
100pF | Cap Ceramic 100pF 50V C0G 5% SMD 0402 125°C Cardboard T/R | C18, C20, C22, C24, C26, C28, C30, C32, C49, C51, C82 | CL05C101JB5NNNC | 11
10nF 16V 2% PPS | Capacitor 0.01 uF 16 Volt PLYPH 2% 2 X 1.25 X 1.1mm Surface Mount Tape and Reel | C34, C35, C36, C37, C38, C39, C40, C41, C42, C44, C47 | ECH-U1C103GX5 | 11
15nF 5% | CAP CER 0.015UF 35V NP0 0603 | C45 | C1608C0G1V153J080AC | 1
240pF 5% C0G | Multilayer Ceramic Capacitors MLCC - SMD/SMT 240pF 50Volts C0G 2% | C48 | C0402C241J5GAC7867 | 1
10uF 16V | Cap Multilayer Ceramic 0805 10uF 16V ±10% X7R CL21 Series | C56, C59, C62, C67, C81 | CL21B106KOQNNNG | 5
1uF 16V | CAP CER 1UF 16V X7R 0603 | C70, C76, C78, C79, C80 | CL10B105MO8NNWC | 5
22uF Tant | Cap Tant Solid 10uF 10V B CASE 10% (3.5 X 2.8 X 1.9mm) Inward L SMD 3528-21 2.5 Ohm 125C T/R | C71 | TAJB106K010RNJ | 1
220uF | Cap Tant Solid 220uF 6.3V B CASE 20% (3.5 X 2.8 X 1.9mm) SMD 3528-21 0.045 Ohm 105°C T/R | C72, C74 | T520B227M006ATE045 | 2
68pF | Cap, 68Pf, 25V, 5%, C0g/Np0, 0402 | CP | 885000000000 | 1
68nF | Cap Cer 0.068UF 16V X7R 0402 | CZ | CC0402KRX7R7BB683 | 1
1200pF 10% | CAP CER 1200PF 100V 5% X7R 0603 | C_NFB | CL10B122KB8NNNC | 1
BAV70LT1G | Dual Switching Diodes, Common Cathode, 3-Pin SOT-23, Pb-Free, Tape and Reel | D2 | BAV70LT1G | 1
MBR120 | MBR120LSFT Series 20 V 1 A Surface Mount Schottky Power Rectifier - SOD-123FL | D5 | MBR120LSFT1G | 1
Bourns SRF0703-220M | Ind Power Shielded Wirewound 10uH/40uH 20% 100KHz Ferrite 2.08A/1.04A T/R | L1, L2 | SRF0703-220M | 2
Hirose DF13-12P-1.25H(76) | DF13 Series 12 Position Single Row 1.25 mm Right Angle SMT Pin Header | P6 | DF13-12P-1.25H(76) | 1
Molex 53261-0371 | Conn Shrouded Header HDR 3 POS 1.25mm Solder RA SMD PicoBlade Embossed T/R | P21, P36 | 53261-0371 | 2
RK7002BM | N-Channel 60 V 0.2 W Surface Mount 2.5 V Drive Silicon Power Mosfet - SOT-23 | Q1, Q2, Q3, Q4, Q5 | RK7002BMT116 | 5
0R | Res Thick Film 0603 0 Ohm Molded SMD SMD Punched Carrier T/R | R4, R6, R53, R54, R69, R70, R94, R97, R110, R111, R113, R114, R115, R116, R117, R118, RC5 | ERJ-3GEY0R00V | 17
1k 1% | YAGEO (PHYCOMP) RC0402FR-071KL RESISTOR, RC32H 0402 1K | R9, R10, R11, R12, R13, R14, R44, R55, R57, R58, R59, R61, R62, R67, R68, R71, R72, R73, R74, R76, R77, R82, R87, R88, R91, R92, R108, R109 | RC0402FR-071KL | 28
10k2 1% | Thick Film Resistors - SMD 10.2K OHM 1% | R15, Rg2 | RC0402FR-0710K2L | 2
3k4 1% | Thick Film Resistors - SMD 3.4K OHM 1% | R16 | RC0402FR-073K4L | 1
17k8 1% | Thick Film Resistors - SMD 17.8K OHM 1% | R17 | RC0402FR-0717K8L | 1
10k7 1% | RES SMD 10.7K OHM 1% 1/16W 0402 | R18 | RC0402FR-0710K7L | 1
442R 1% | Thick Film Resistors 442 OHM 1% | R21, R22 | RMCF0402FT442R | 2
560R 1% | RES SMD 560 OHM 1% 1/16W 0402 | R23 | RC0402FR-07560RL | 1
100k 0.1% | RES SMD 100K OHM 0.1% 1/16W 0402 | R24, R25, R26, R27, R28, R29, R30, R31, R32, Rs,bat | RNCF0402DTE100K | 10
162k 1% | Thick Film Resistors - SMD 0402 162Kohms 1% Tol | R42, R43, R51 | RC0402FR-07162KL | 3
4k42 1% | Thick Film Resistors - SMD 4.42K OHM 1% | R45, R48, R50 | RC0402FR-074K42L | 3
6k65 1% | Thick Film Resistors 6.65K OHM 1% | R49 | RC0402FR-076K65L | 1
232k 1% | Thick Film Resistors - SMD 0402 232Kohms 1% Tol | R52 | RC0402FR-07232KL | 1
10k | Res Thin Film 0402 10K Ohm 0.5% 0.063W(1/16W) ±25ppm/C Molded SMD Automotive Punched T/R | R56, R60, R65, R75, R78, R79, R80, R81, R83, R84, R95, R102, R103 | RMCF0402FT10K0 | 13
2k2 5% | RES SMD 2.2K OHM 5% 1/16W 0402 | R63, R106, R107 | RC0402JR-072K2L | 3
1k1 | RES SMD 1.1K OHM 1% 1/16W 0402 | R64 | CRCW04021K10FKED | 1
1M65 1% | Thick Film Resistors - SMD 1.65M OHM 1% | R66 | RMCF0402FT1M65 | 1
91R 5% | Thick Film Resistors - SMD 91 OHM 5% | R85, R86, R89, R90 | RMCF0402JT91R0 | 4
768k | Thick Film Resistors - SMD 0402 768Kohms 1% Tol | R98 | ERJ-2RKF7683X | 1
249k | RES SMD 249K OHM 1% 1/16W 0402 | R99 | MCR01MRTF2493 | 1
29k4 | Thick Film Resistors - SMD 29.4K OHM 1% | R100 | RC0402FR-0729K4L | 1
118k | RES SMD 118K OHM 1% 1/16W 0402 | R101 | CRCW0402118KFKED | 1
100R 5% 1/4W | Res Thick Film 0603 100 Ohm 5% 1/4W +/-200ppm/ßC Molded SMD SMD Paper T/R | R104, R105 | ESR03EZPJ101 | 2
1k5 0.1% | RES SMD 1.5K OHM 0.1% 1/16W 0402 | Rg | RT0402BRD071K5L | 1
MUX36S08 | 36-V, low-capacitance, low-leakage-current, precision, analog multiplexer 16-WQFN -40 to 125 | U1, U4 | MUX36S08IRRJR | 2
OPA2141 | 10 MHz, Single Supply, Low Noise, JFET Precision Amplifier, 4.5 to 36 V, -40 to 125 degC, 8-pin SOP (DGK8), Green (RoHS & no Sb/Br) | U5 | OPA2141AIDGKT | 1
AD8220 | SP Amp Instrumented Amp Single Rail to Rail O/P ±18 Volt 36 Volt 8-Pin MSOP | U6 | AD8220BRMZ | 1
OPA4141 | 10 MHz, Single Supply, Low Noise, JFET Precision Amplifier, 4.5 to 36 V, -40 to 125 degC, 14-pin SOP (PW14), Green (RoHS & no Sb/Br) | U7 | OPA4141AIPW | 1
ADXL345 | 3-Axis, +/-2 g / +/-4 g / +/-8 g / +/-16 g Digital Accelerometer with Digital Output, 1.6 KHz BW, Industrial, 14-pin LGA, Tray | U8 | ADXL345BCCZ | 1
MIC7221 | MIC7221 Series Single 10 V 0.5 pA IttyBitty? Rail-to-Rail Comparator - SOT-23-5 | U10 | MIC7221 | 1
DRV2605L | Haptic Driver for ERM and LRA with Built-In Library and Smart Loop Architecture 10-VSSOP -40 to 85 | U15 | DRV2605L | 1
REF3333AIDBZR | 30 ppm / degC Drift, 3.9 uA Voltage Reference, -40 to 125 degC, 3-pin SOT-23 (DBZ), Green (RoHS & no Sb/Br) | U16 | REF3333AIDBZR | 1
3-Terminal Pico Blade Female Wire-To-Board |  |  | ?0510210300? | 2
Pico Blade Crimp Connector |  |  | ?0500588000? | 6
Hirose Female Wire-To-Board |  |  | DF13-12S-1.25C? | 1
Hirose Low Insertion Force Gold Crimp Pin |  |  | DF13G-2630SCFA? | 12
LED | LED; Red; 30mcd; 0.126In.Dia.; T-1; 150mA; 2V; 635nm; 60deg; Diffused; 85 to 85degC | D4, D6, D7, D8, D9 | OVLLR8C7 | 5
ESP-12S | ESP-12S | A1 |  | 1
CM-01B
100k DNP | THIN FILM, RESISTOR, 100KOHM, 63mW, ±0.5% | R5 | ERA-2AED104X | 1
10M 1% | YAGEO (PHYCOMP) RC0402FR-0710ML RESISTOR, 0402 0.063W 1% 10M | R33, R34, R35, R36, R37, R38, R39, R40, R41 | RC0402FR-0710ML | 9
310-105 | Precision Microdrives 310-105 10mm Vibration Motor - 4mm Type | P24 | 310-105 | 1
Omron B3U-3000P | TACTILE SWITCH, SIDE ACTUATED, SMD | SW1,SW2,SW3 | B3U-3000P | 1
MKL02Z32VFG4 | 32 Bit Microcontroller, Kinetis L Series Ultra Low Power, ARM Cortex-M0+, 48 MHz, 32 KB, 4 KB, 16 | U3 | MKL02Z32VFG4 | 1
LiPo | 2 Positions Header, Shrouded Connector 0.079 (2.00mm) Surface Mount | BT1 | S2B-PH-SM4-TB(LF)(SN) | 1
Microsemi UPS115UE3/TR7 | Standard Recovery Diode And Rectifier | D10 | UPS115UE3/TR7 | 1
33R | Thick Film Resistors - SMD 1/16W 33ohm 1% | R1, R2 | AC0402FR-0733RL | 2
120 | Chip Ferrite Bead for Power Lines, 120 Ohm, 2000 mA, -55 to 125 degC, 1 x 0.5 x 0.55 mm SMD, Tape and Reel | FB3, FB4 | BLM15PX121SN1D | 2
600 | Chip Ferrite Bead for Power Lines, 600 Ohm, 900 mA, -55 to 125 degC, 1 x 0.5 x 0.55 mm SMD, Tape and Reel | FB1, FB2 | BLM15PX601SN1D | 2
470R | Thick Film Resistors - SMD 0402 470ohms 5% Tol, Thick Film Resistors - SMD 0402 470ohms 5% Tol, RES SMD 470 OHM 1% 1/16W 0402 | R3, R7, R8 | ERJ-2GEJ471X, ERJ-2GEJ471X, CRCW0402470RFKED | 3
32.768kHz | Crystal 0.032768MHz ±20ppm (Tol) 12.5pF Flexural 50000Ohm 2-Pin SMD T/R | X2 | TFE322P32K7680R | 1
LT1306 | LT1306 - Synchronous, Fixed Frequency Step-Up DC/DC Converter | U13 |  | 1
LT1611 | Inverting 1.4 MHz Switching Regulator, 5-pin SOT23 (S5-5), 0 to 70 degC, Pb-Free, Tape and Reel | U14 | LT1611CS5#TRPBF | 1
NXP Semiconductors MK66FX1M0VMD18 | Kinetis K66: 180MHz Cortex-M4F MCU, 1.2MB Flash, 256KB SRAM, 2xUSB, Ethernet, 144-MAPBGA | U2 | MK66FX1M0VMD18 | 1
BQ21040 | 0.8A Single Input Single-Cell Li-Ion and Li-Pol Battery Charger 6-SOT-23 0 to 125 | U9 |  | 1
16MHz | CRYSTAL 16MHZ 8PF SMD | X1 | NX3225SA-16.000MHZ-STD-CSR-1 | 1
Micro SD Card Connector | Conn Micro SD Card HDR 8 POS 1.09mm Solder RA SMD Embossed T/R 0.5A | P1 | 1051620001 | 1
1uF | Cap Tant Polymer 1uF 35VDC W9 CASE 20%( 2 X 1.25 X 0.9mm) SMD 2012-09 0.5 Ohm 105C T/R | C69 | T58W9105M035C0500 | 1
MMDL914T3G | High-Speed Switching Diode, 2-Pin SOD-323, Pb-Free, Tape and Reel | D11 | MMDL914T3G | 1
MBR0520 | Rectifier, Schottky Power; Plastic Sod-123; 0.5 a @ +90c If; +125; 20v; 1000 | D12 | MBR0520LT1G | 1
22uF | Cap Tant Polymer 22uF 10VDC M CASE 20%( 1.6 X 0.85 X 1mm) Undertab SMD 1608-09 0.5 Ohm 60C T/R | C73 | F381A226MMAAXE | 1
22uF 6.3V | Cap Ceramic 22uF 6.3V X5R 10% SMD 0805 85°C Cardboard T/R | C77 | CL21A226KQCLRNC | 1
SSM3J328R | Trans MOSFET P-CH Si 20V 6A 3-Pin SOT-23F | Q6 | SSM3J328R | 1
LP5907QMFX-3.3 | IC REG LDO 3.3V 0.25A SOT23-5 | U11, U12 | LP5907MFX-3.3/NOPB | 2
CUS-12TB | Switch Slide SPDT Side Slide 0.3A 20VDC Gull Wing SMD Embossed T/R | SW4 | CUS-12TB | 1
USB microB | MICRO USB AB, RECEPTACLE, TOP MOUNT | J1 | 47590-0001 | 1
2.2uF | Multilayer Ceramic Capacitor, GRM Series, 2.2 F, 10%, X5R, 10 V, 0402 [1005 Metric] | C2, C3, C9, C16, C61, C68 | GRM155R61A225KE95D | 6
10nF | Cap Ceramic 0.01uF 16V X7R 10% SMD 0402 125°C Paper T/R | C5, C6 | C0402C103K4RECAUTO | 2
10uF Tant | 10µF Molded Tantalum Polymer Capacitor 10V 0603 (1608 Metric) 300mOhm @ 100kHz | C15, C17, C53 | F381A106MMAAH1 | 3
LED | SMD mono-color Chip LED, WL-SMCW, Super Red | D1,D3 | 150060SS75000 | 1